WEST UNIVERSITY PLACE                    Job No.

BID COVER SHEET	                      PW26-04

BID FOR: PW26-04-Three Year Term Contract for Maintenance and repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

DUE DATE:  	Wednesday February 25, 2026

Due no later than 10:00 A.M. CST.   Bids received later than the date and time above will not be considered.

BIDDERS NOTE:     	Carefully read all instructions, requirements and specifications.  Fill out all forms properly and completely.  Submit your bid with all appropriate supplements and/or samples in an appropriately sized envelope or box.  PACKAGE MUST SHOW THE JOB NUMBER, DESCRIPTION AND BE MARKED "SEALED BID".

RETURN BID TO:	       City of West University Place

City Secretary’s Office

3800 University Blvd.

West University Place, Texas 77005

Phone: 713-662-5812   Fax: 713-662-2705

Project Officer:  Rosendo Ortiz Facility Manager

TABLE OF CONTENTS

This bid/proposal package includes the components checked below.    If the item is not checked, it is not applicable.  Bidders are asked to review the documentation to be sure that all applicable parts are included.  If any portion of the documentation is missing, notify the City.   Bidder should be thoroughly familiar with all of the following items applicable to the bid/proposal before submitting an offer.  ALL FORMS ARE INCLUDED IN BID SUBMITTAL PACKET.

X      1.	Cover Sheet -  	Complete this page, sign IN INK and return it.

X      2.	Table of Contents - This page lists the applicable components of this bid/proposal documentation.

3.	Notice to Bidders-

X      4.	General Requirements - It is Bidder’s responsibility to be thoroughly familiar with the General Requirements.

5	Special Requirements/Instructions - 	This section provides information needed in order to make an offer properly.  Special requirements supersede General Requirements when applicable.

X      6.	Specifications/Custodial Services ExhibitA - This section contains a detailed description of the goods/services sought by the City.

X      7.	Attachments

X     		a.  Appendices

Attachment	A-1	Sample Score Sheet

Attachment	A-2	Release & Indemnification

Attachment 	A-3	General Service Contract

Attachment	A-4	Bid Submittal Package

- Bid Cover Sheet

- Bid Checklist

- Qualification Statement

- Price Schedule

- Resident Certification Tax Form

- Bid Offer Guaranty and Performance and/or Payment Bond

- Bid Bond

- Performance Bond

- Payment Bond

- Bid Check Return Authorization Form

- Insurance Specifications

- Workers’ Compensation Insurance Coverage

- Reference Sheet

GENERAL REQUIREMENTS FOR BIDS

READ THIS ENTIRE DOCUMENT CAREFULLY.  FOLLOW ALL INSTRUCTIONS.  YOU ARE RESPONSIBLE FOR FULFILLING ALL REQUIREMENTS AND SPECIFICATIONS.  BE SURE YOU UNDERSTAND THEM.

General Requirements apply to all advertised bids; however, these may be superseded, in whole or in part, by the SPECIAL REQUIREMENTS/INSTRUCTIONS OR OTHER DATA CONTAINED HEREIN.  Review the Table of Contents.  Be sure your bid package is complete.

DEFINITIONS

BIDDER	Offeror/Successful Bidder awarded contract/Contractor.

CITY		City of West University Place, Texas

# ACCESS TO RECORDS

# In special circumstances, BIDDER may be required to allow duly authorized representatives of the CITY and/or the state and federal government access to contracts, books, documents, and records necessary to verify the nature and extent of the cost of services provided by vendor.

# ADDENDA

When specifications are revised, the CITY will issue an addendum addressing the nature of the change.  BIDDER(s) must sign and include it in the returned bid package.

# ASSIGNMENT

The successful BIDDER may not assign, sell or otherwise transfer this contract without written permission of the CITY.

# BID COMPLETION

# Fill out and return to the CITY’s Office Two (2) copies of all complete bid forms in an appropriately sized envelope or box.  PACKAGE MUST SHOW THE JOB NUMBER, DESCRIPTION AND BE MARKED “SEALED BID.”  An authorized representative of the BIDDER should sign the Bid Cover Sheet.  The contract will be binding only when all bid information has been reviewed, accepted and signed by the CITY.  BIDDER will be notified upon acceptance of bid.

# BID RETURNS

# BIDDERs must return all completed bids to the CITY’s Office located at 3800 University Blvd, West University Place, Texas by 10:00 A.M. CST on the date specified.  Late bids will not be accepted.

# AWARD

# Unless all bids are rejected, the CITY reserves the right to award the contract in accordance with the laws of the State of Texas at any time during the Firm Bid Period (which is the 90-day period following the bid opening, unless otherwise stated).  If no award is made within such Firm Bid Period, BIDDER may withdraw its bid, without prejudice, by submitting a written request for its withdrawal to the person who holds the bid.  The CITY reserves the right to reject any or all bids and to waive bid irregularities as the interest of the CITY may require.  The CITY may award on any base bid, any alternate or any combination thereof as stated by Section §252.043 of the Texas Local Government Code.  In the case of high technology procurements and other procurements, the CITY reserves the right to conduct discussions to the full extent allowed by Section §252.042, Texas Local Government Code or other law.  A Letter of Notification of Award will be issued upon acceptance of bid and sent to successful BIDDER.

# **PLEASE NOTE**  THE CITY’S FISCAL YEAR RUNS FROM JANUARY 1 TO DECEMBER 31 AND DEPENDING ON THE BIDS SUBMITTED AND THE CURRENT FUNDING ALLOCATION, THE CITY RESERVES THE RIGHT TO AWARD A PART OR ALL OF THE CONTRACT IN 2026 OR DEFER THE ENTIRE CONTRACT START DATE UNTIL THE CURRENT CONTRACT EXPIRES, 2026.

# BONDS

If this bid requires submission of a bid guarantee and/or performance bond, there will be a separate page explaining those requirements.  Bids submitted without the required bid bond or cashier's checks are not acceptable.

# CONTRACT OBLIGATION

The CITY must award and sign the contract before it becomes binding on the CITY and/or the BIDDERs.  Binding agreements shall remain in effect until all products and/or services covered by this purchase have been satisfactorily delivered and accepted.

# CONTRACT RENEWALS

Renewals may be made ONLY by written agreement between the CITY and the BIDDER.  Any price escalations are limited to those stated by the BIDDER in the original bid.

# DIGITAL FORMAT

If BIDDER obtained the bid specifications in digital format in order to prepare a response, the bid must be submitted in hard copy according to the instructions contained in this bid package.  If, in its bid response, BIDDER makes any changes whatsoever to the published bid specifications, the CITY’s bid specifications as published shall control.  Furthermore, if an alteration of any kind to the published bid specifications is only discovered after the contract is executed and is or is not being performed, the contract is subject to immediate cancellation.

DISQUALIFICATION OF BIDDER

# Upon signing this bid document, a BIDDER offering to sell supplies, materials, services, or equipment to the CITY certifies that the BIDDER has not violated the antitrust laws of this state codified in Texas Business and Commerce Code §15.01, et seq., as amended, or the federal antitrust laws, and has not communicated directly or indirectly the bid made to any competitor or any other person engaged in such line of business.  Any or all bids may be rejected if the CITY believes that collusion exists among the BIDDERs.  Bids in which the prices are obviously unbalanced may be rejected.  If multiple bids are submitted by a BIDDER and after the bids are opened, one of the bids is withdrawn, the result will be that all of the bids submitted by that BIDDER will be withdrawn; however, nothing herein prohibits a vendor from submitting multiple bids for different products or services.

# E-MAIL ADDRESSES CONSENT

BIDDER affirmatively consents to the disclosure of its e-mail addresses that are provided to the CITY.  This consent is intended to comply with the requirements of the Texas Public Information Act, Texas Government Code Ann. §522.137, as amended, and shall survive termination of this agreement.  This consent shall apply to e-mail addresses provided by BIDDER, its employees, officers, and agents acting on BIDDER’s behalf and shall apply to any e-mail address provided in any form for any reason whether related to this bid/proposal or otherwise.

# EVALUATION

Evaluation shall be used as a determinant as to which bid items or services are the most efficient and/or most economical.  It shall be based on all factors which have a bearing on price and performance of the items in the user environment.  All bids are subject to tabulation by the CITY and recommendation to the appropriate governing body.  Compliance with all bid requirements, delivery and needs of the using department are considerations in evaluating bids.  Pricing is NOT the only criteria for making a recommendation.  The CITY reserves the right to contact any BIDDER, at any time, to clarify, verify or request information with regard to any bid.

# GOVERNING FORMS

In the event of any conflict between the terms and provisions of these requirements and the specifications, the specifications shall govern.  In the event of any conflict of interpretation of any part of this overall document, the CITY’s interpretation shall govern.

# GOVERNING LAW

# This bid solicitation is governed by the competitive bidding requirements of the Texas Local Government Code, §252.021 et seq., as amended.  BIDDER shall comply with all applicable federal, state and local laws and regulations.  BIDDER is further advised that these requirements shall be fully governed by the laws of the State of Texas and that the CITY may request and rely on advice, decisions and opinions of the Attorney General of Texas and the appointed CITY Attorney concerning any portion of these requirements.

# HOLD HARMLESS AGREEMENT

The successful BIDDER shall indemnify and hold the CITY harmless from all claims for personal injury, death and/or property damage resulting directly or indirectly from contractor's performance.  BIDDER shall procure and maintain, with respect to the subject matter of this bid, appropriate insurance coverage including, as a minimum, public liability and property damage with adequate limits to cover contractor's liability as may arise directly or indirectly from work performed under the terms of this bid.  Certification of such coverage must be provided to the CITY upon request. (See attached Release and Indemnification Sheet)

# INSPECTIONS & TESTING

# The CITY reserves the right to inspect any item(s) or service location for compliance with specifications and requirements and needs of the using department.  If a BIDDER cannot furnish a sample of a bid item, where applicable, for review, or fails to satisfactorily show an ability to perform, the CITY can reject the bid as inadequate.

# INVOICES AND PAYMENTS

# Payments accrue only to the extent that (i) specific tasks called for by the Scope of Work are completed by the BIDDER, and (ii) any related work products are delivered to the CITY, all in a form satisfying the CITY's needs and intended uses, and all in accordance with this Agreement.  To receive payments, the BIDDER must submit itemized invoices showing the specific tasks and work products for which payment has accrued and including proofs of completion and the applicable prices from this Agreement.  Any invoice, which cannot be verified by the contract price and/or is otherwise incorrect, will be returned to the BIDDER for correction.  Within approximately 30 days following review and approval of an invoice (which may require action by the governing body), payments invoiced which have accrued and comply with this Agreement shall be mailed to the BIDDER. Under term contracts, when multiple deliveries and/or services are required, the BIDDER may invoice following each delivery and the CITY will pay on invoice.  Contracts providing for a monthly charge will be billed and paid on a monthly basis only. Prior to any and all payments made for goods and/or services provided under this contract, the BIDDER should provide his Taxpayer Identification Number or social security number as applicable.  This information must be on file with the CITY’s office.  Failure to provide this information may result in a delay in payment and/or back-up withholding as required by the Internal Revenue Service.

INVOICES submitted for payment shall be addressed to:

ATTN:  Accounts Payable

Finance Department

City of West University

3800 University Blvd.

West University Place, TX 77005

# MAINTENANCE

Maintenance required for equipment bid should be available by a manufacturer-authorized maintenance facility.  Costs for this service shall be shown on the Pricing/Delivery Information form.  If the CITY opts to include maintenance, it shall be so stated in the bid and said cost should be provided by BIDDER.  Service will commence only upon expiration of applicable warranties and should be priced accordingly.

# MATERIAL SAFETY DATA SHEETS

Under the "Hazardous Communication Act", commonly known as the "Texas Right To Know Act",  BIDDER must provide to the CITY, with each delivery (or maintain copies at each location if same product/materials used), material safety data sheets which are applicable to hazardous substances defined in the Act.  Failure of the BIDDER to furnish this documentation will lead to administrative penalties for each violation and may also lead to civil and criminal penalties in accordance with Sections §502.015 and §502.016 of Act. .

# NAME BRANDS

Specifications may reference name brands and model numbers.  It is not the intent of the CITY to restrict these bids in such cases, but to establish a desired quality level of merchandise or to meet a pre-established standard due to like existing items.  BIDDERs may offer items of equal stature with the burden of proof of such stature.  The CITY shall act as sole judge in determining equality and acceptability of products offered.

# Potential Conflicts of Interest

An outside consultant or contractor is prohibited from submitting a bid for services on a CITY project of which the consultant or contractor was a designer or other previous contributor, or was an affiliate, subsidiary, joint venturer or was in any other manner associated by ownership to any party that was a designer or other previous contributor.  If such a consultant or contractor submits a prohibited bid, that bid shall be disqualified on the basis of conflict of interest, no matter when the conflict is discovered by the CITY.

Bidders must make every effort to comply with Chapter 176 of the Texas Local Government Code.  Chapter 176 mandates the public disclosure of certain information concerning persons doing business or seeking to do business with the City, including affiliations and business and financial relationships such persons may have with the City’s officers.

By doing business or seeking to do business with The City, including submitting a response to this Bid, you acknowledge that you have been notified of the requirements of Chapter 176 of the Texas Local Government Code and you are representing that you are in compliance with them. (Form Attached)

PRICING

Prices for all goods and/or services shall be firm for the duration of this contract and shall be stated on the Pricing/Delivery Information form.  Prices shall be all inclusive:  No price changes, additions, or subsequent qualifications will be honored during the course of the contract unless agreed by both parties.   The CITY shall never be obligated to pay more (through or under this agreement, or as damages for breach, tort or otherwise) than the total sum of money certified as budgeted and unencumbered All prices must be written in ink or typewritten.  Pricing on all transportation, freight, drayage and other charges are to be prepaid by the BIDDER and included in the bid prices. If there are any additional charges of any kind, other than those mentioned above, specified or unspecified, BIDDER MUST indicate the items required and attendant costs or forfeit the right to payment for such items.  Where unit pricing and extended pricing differ, unit pricing prevails.

PRICE ADJUSTMENT

Price changes will normally only be considered at the end of one agreement period and the beginning of another.  Price change requests during a contract period must be supported by evidence of increased cost to the BIDDER.  The CITY will not approve price increases that will merely increase the gross profitability of the BIDDER at the expense of the CITY.  Price change requests shall be a factor in the agreement extension review process.  The CITY shall determine whether the requested price increase or alternate option is in the best interest of the CITY.

### PURCHASE ORDER AND DELIVERY

After issue of the Letter of Notification of Award, the CITY shall issue a Purchase Order to the BIDDER that will include the item number, description, and the total estimated dollar amount for each item.  Purchase Orders shall provide funds for the actual purchase and the BIDDER shall not accept any delivery order without having received a duly issued purchase order signed by the CITY.  To the extent of any conflict between the terms and conditions included in any Purchase Order and the terms and conditions of the Contract, the terms and conditions of the Contract shall govern.  The fastest, most reasonable delivery time shall be indicated by the BIDDER in the proper place on the Pricing/Delivery Information form or via notification to the CITY representative placing order.  Any special information concerning delivery should also be included, on a separate sheet, if necessary.  All items shall be shipped F.O.B. INSIDE DELIVERY unless otherwise stated in the specifications.  This shall be understood to include bringing merchandise to the appropriate room or place designated by the using department.  Every tender or delivery of goods must fully comply with all provisions of these requirements and the specifications including time, delivery and quality.  Nonconformance shall constitute a breach which must be rectified prior to expiration of the time for performance.  Failure to rectify within the performance period will be considered cause to reject future deliveries and cancellation of the contract by the CITY without prejudice to other remedies provided by law.  Where delivery times are critical, the CITY reserves the right to award accordingly.

# RECYCLED MATERIALS

The CITY encourages the use of products made of recycled materials and shall give preference in purchasing to products made of recycled materials if the products meet applicable specifications as to quantity and quality.  The CITY will be the sole judge in determining product preference application.

SCANNED OR RE-TYPED RESPONSE

If in its response, BIDDER either electronically scans, re-types, or in some way reproduces the CITY’s published proposal package, then in the event of any conflict between the terms and provisions of the CITY's published proposal package, or any portion thereof, and the terms and provisions of the response made by BIDDER, the CITY's proposal package as published shall control.  Furthermore, if an alteration of any kind to the CITY's published proposal package is only discovered after the contract is executed and is or is not being performed, the contract is subject to immediate cancellation.

SEVERABILITY

If any section, subsection, paragraph, sentence, clause, phrase or word of these requirements or the specifications shall be held invalid, such holding shall not affect the remaining portions of these requirements and the specifications and it is hereby declared that such remaining portions would have been included in these requirements and the specifications as though the invalid portion had been omitted.

# SILENCE OF SPECIFICATIONS

The apparent silence of specifications as to any detail, or the apparent omission from it of a detailed description concerning any point, shall be regarded as meaning that only the best commercial practice is to prevail and that only material and workmanship of the finest quality are to be used.  All interpretations of specifications shall be made on the basis of this statement.  The items furnished under this contract shall be new, unused of the latest product in production to commercial trade and shall be of the highest quality as to materials used and workmanship.  Manufacturer furnishing these items shall be experienced in design and construction of such items and shall be an established supplier of the item bid.

# SUPPLEMENTAL MATERIALS

BIDDERs are responsible for including all pertinent product data in the returned bid package.  Literature, brochures, data sheets, specification information, completed forms requested as part of the bid package and any other facts which may affect the evaluation and subsequent contract award should be included.  Materials such as legal documents and contractual agreements, which the BIDDER wishes to include as a condition of the bid, must also be in the returned bid package.  Failure to include all necessary and proper supplemental materials may be cause to reject the entire bid.

# TAXES

The CITY is exempt from all federal excise, state and local taxes unless otherwise stated in this document.  The CITY claims exemption from all sales and/or use taxes under Texas Tax Code §151.309, as amended.

# TERM CONTRACTS

# If the contract is intended to cover a specific time period, the term will be given in the specifications under SCOPE.

# TERMINATION

The CITY reserves the right to terminate the contract for default if BIDDER breaches any of the terms therein, including warranties of BIDDER or if the BIDDER becomes insolvent or files for bankruptcy protection.  Such right of termination is in addition to and not in lieu of any other remedies which the CITY may have in law or equity. In submitting this bid, BIDDER agrees that the CITY shall not be liable to prosecution for damages in the event that the CITY declares the BIDDER in default.  Default may be construed as, but not limited to; failure to deliver the proper goods and/or services within the proper amount of time, failure to properly perform any and all services required to the CITY’s satisfaction and/or does not meet obligations and requirements.  The CITY may terminate the contract without cause upon thirty (30) days written notice.

# Termination for Health and Safety Violations.

# The CITY has the option to terminate this contract immediately without prior notice if BIDDER fails to perform any of its obligations in this contract if the failure (a) created a potential threat to health or safety or (b) violated a law, ordinance, or regulation designed to protect health or safety.

NOTICES:  Unless otherwise provided in this Agreement, any notice, inquiries, requests, instructions or other communication to a party ("notice") must be written.  All notices are to either, (i) be delivered personally, (ii) sent by United States certified mail, postage prepaid, return receipt requested ("US Mail") or postage prepaid United States Express Mail ("Express Mail"), (iii) placed in the custody of a nationally recognized overnight courier for next day delivery ("Courier"), or (iv) transmitted by confirmed telephonic facsimile ("Fax"), (v) confirmed delivery of electronic mail (“E-mail”).  Notice will be deemed given (a) when received, if delivered personally or sent by email, (b) the next business day after posting, if sent by US Mail, and (c) the next business day, if sent by Courier or Fax. If notice is transmitted by Fax, a duplicate copy may be sent by either US Mail or Courier no later than one business day after transmission.  In order to be effective, notices from BIDDER to the CITY (1) changing BIDDER’s Representative, (2) terminating this Agreement, or (3) alleging a claim against the CITY or Related Party or nonperformance or default by the CITY (4) or any other matter pertaining to this Agreement or its terms, must be addressed to the CITY or its authorized representative(s).

# TITLE TRANSFER

Title and Risk of Loss of goods shall not pass to the CITY until the CITY or one of its representatives actually receives and takes possession of the goods at the point or points of delivery.  Receiving times may vary.  Generally, deliveries must be made between 8:00 a.m. and 5:00 p.m., Monday through Friday. BIDDER is advised to consult the using department for instructions.  The place of delivery shall be shown under the "Special Requirements/Instructions" section of this bid package.

# WAIVER OF SUBROGATION

BIDDER and BIDDER's insurance carrier waive any and all rights whatsoever with regard to subrogation against the CITY as an indirect party to any suit arising out of personal or property damages resulting from BIDDER's performance under this agreement.

WARRANTIES

BIDDER shall furnish all data pertinent to warranties or guarantees which may apply to items in the bid and shall not limit or exclude any implied warranties.  BIDDER warrants that product sold to the CITY shall conform to the standards established by the U.S. Department of Labor under the Occupational Safety and Health Act of 1970.  In the event product does not conform to OSHA Standards, where applicable, the CITY may return the product for correction or replacement at the BIDDER's expense.  If BIDDER fails to make the appropriate correction within a reasonable time, the CITY may correct at the BIDDER's expense.

RIGHTS OF WITHHOLDING: PENALTY/REMEDY CLAUSE

The CITY reserves the right to withhold any payment or partial payment otherwise due to the CONTRACTOR for any unsatisfactory performance or damage by CONTRACTOR.  The amount shall be withheld until such work is corrected.  If CITY uses in-house staff to remedy a deficiency, payment will be deducted which covers; staff hourly rate plus any other costs (materials, supplies, etc.) associated to remedy deficiency.  Upon three notices of deficiency, if the City hires an outside vendor to remedy the deficiency, the amount will be deducted from the payment.

TEXAS ETHIC COMMISSION REQUIREMENTS

Pursuant to Section 2252.908 of the Government Code, any contracts entered into on or after January 1, 2016 that require an action or vote by a governing body of the entity or agency and/or have a value of at least one (1) million dollars, will need to meet the following requirements once the bidder is notified of the award of contract:

- A business entity will need to file form 1295 – Certificate of Interested Parties electronically via the Texas Ethics Commission website (https://www.ethics.state.tx.us/main/file.htm ). The business entity will be required to create a profile on the site.

- Once the form is submitted electronically, the business entity will need to print, sign and have the form notarized and submit it to the City as part of this agreement.

- The City will then need to acknowledge the form electronically no later than the 30th day after the date the contract binds all parties to the contract and include a copy of the signed/notarized version to the contract documents.

PROHIBITION ON CONTRACTS WITH COMPANIES BOYCOTTING ISRAEL

Pursuant to Section 2270 of the Government Code, any contracts entered into on or after September 1, 2017, a governmental entity may not enter into a contract with a company for goods or services unless the contract contains a written verification from the company that it:  (1) does not boycott Israel; and (2) will not boycott Israel during the term of the contract.

AFFILIATION

Pursuant to Chapter 2252, Texas Government Code, Contractor represents and certifies that, at the time of execution of this Contract neither the Contractor, nor any wholly owned subsidiary, majority-owned subsidiary, parent company or affiliate of the same (i) engages in business with Iran, Sudan, or any foreign terrorist organization as described in Chapter 806 or 807 of the Texas Government Code, or Subchapter F of Chapter 2252 of the Texas Government Code, or (ii) is a company listed by the Texas Comptroller of Public Accounts under Sections 806.051, 807.051, or 2252.153 of the Texas Government Code. The term “foreign terrorist organization” in this paragraph has the meaning assigned to such term in Section 2252.151 of the Texas Government Code.

### VENDORS OWING TAXES OR OTHER DEBTS

Pursuant to TX Local Government Code 252.0436, The CITY may refuse to award a contract to or enter into a transaction with apparent low bidder of successful proposer if that bidder is indebted to the CITY.  This shall include an individual, sole proprietorship, corporation, nonprofit corporation, partnership, joint venture, Limited Liability Company, and any other entity that proposes or otherwise seeks to enter into a contract or other transaction with the municipality requiring approval by governing body of the municipality

SPECIFICATIONS

Job No. PW-04 – Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration

Systems with Two Optional One Year Extensions

SCOPE

The WORK under this proposed agreement shall consist of maintenance and repair of all HVAC/Refrigeration Systems for all

CITY facilities.

All parts and repair work under this agreement must conform to manufacturer’s specifications.

DEFINITIONS:

CONTRACTOR:      Offeror/Successful Bidder awarded contract.

CITY:                        City of West University Place.

CITY LIASON:        Project Officer, Facilities Maintenance Manager, and/or another authorized representative.

WORK:                     HVAC/Refrigeration System Repair

APPLICABLE LAWS AND STANDARS

The CONTRACTOR shall provide the specified service requirements in accordance with all federal, state and local applicable

laws, standards and regulations necessary to perform the services in accordance with but not limited to:

- Texas Administrative Code, Title 16, Part 4, Chapter 75

- Texas Occupation Code, Title 8, Chapter 1302

- Federal Clean Air Act – 42 U.S.C. Section 7401 et. seq

- Uniform and International Mechanical Code

- SDS sheets, when applicable

- Refrigerant Handling Certification in accordance with EPA Title VI, Section 608

CONTRACTOR QUALIFICATIONS

CONTRACTOR shall:

- Be a licensed company engaged in the business of providing commercial HVAC/Refrigeration Services for a

minimum of five years within the last seven years and be in good financial standing.

- Technicians shall have a minimum of five years experience in the last seven years in commercial HVAC

maintenance and repair.

- Technician Helpers shall have a minimum of one year experience in the last two years in commercial HVAC

maintenance and repair.

- Helpers/non-technicians will not be allowed to perform any job unsupervised.

CONTRACTOR is encouraged to submit copies of licenses with bid package. However, if not enclosed and if requested by the

CITY, copies of the required licenses and permits shall be provided within seven (7) days after notification from the CITY.

RESPONSIBILITIES

The CONTRACTOR shall be responsible for determining and securing, at its expense, all licenses and permits which

are required in any manner connected with providing the WORK under this Agreement. The CONTRACTOR shall notify the

CITY in writing at any time during the Agreement Term, within ten (10) days of any of the following:

A. The suspension, revocation, or refusal to renew any and all CONTRACTOR licenses required to perform the WORK.

B. The suspension, revocation, or refusal to renew any and all CONTRACTOR employee licenses working on CITY

premises.

GENERAL DESCRIPTION

A. The Service Term is for Three Years with Two additional One Year options, beginning on a date designated by the

CITY in a notice to the CONTRACTOR. Unless waived by the CONTRACTOR, the CITY must give the

CONTRACTOR at least 10 days advance notice of the beginning date.

B. During the Service Term, the CONTRACTOR will furnish all labor, materials, tools, equipment, supervision,

services, incidentals and other items needed to repair HVAC/Refrigeration systems for CITY buildings and facilities

to include;

a. General building maintenance – repair of HVAC systems to include chillers, boilers, standard split and

package units, and refrigeration systems.

b. Quarterly and annual inspections/service - three (3) Quarterly and one scheduled comprehensive annual

service and inspection with written reports shall be completed on all chillers. (See Exhibit A)

c. Permits – must acquire any permits needed. (City issued permits will be No Fee Permits)

d. Construction – On occasion, installation of new or replacement systems may be required.

C. It is emphasized that CITY does not guarantee any specific quantity of any item listed during the period of this

Agreement; rather, the quantities may vary depending upon actual needs of the user department. The quantity stated

for each item is an estimate only. CONTRACTOR shall remain obligated to the CITY under all clauses of this

contract agreement that expressly or by their nature extend beyond and survive the expiration of termination of this

contract agreement, including but not limited to warranties and indemnity provisions hereof.

D. CONTRACTOR must be qualified and familiar with HVAC/Refrigeration systems and must have demonstrated a past

history of responsiveness, technical expertise, and professionalism.

E. Professional workmanship shall meet or exceed existing industry standards. CONTRACTOR must provide a written

warranty satisfactory to the CITY covering all parts and labor used in performance of this Agreement within the

specified guidelines and recommendations of the manufacturer’s warranty.

a. All work performed shall meet all applicable requirements of the latest revision of the International

Mechanical Code and/or the Uniform Mechanical Code (State of Texas adopted code). If any defects or signs

of deterioration are noted which in the CITY’s opinion are due to faulty workmanship or materials, the

CONTRACTOR, upon notification and at his/her expense, shall make the necessary repairs to correct any

deficiency in the system. All systems must be fully functional and operational after the repair(s) have been

made.

b. All materials furnished shall be the latest improved models in current production, as offered through

commercial trade and shall be of quality material. Used, shopworn, demonstrator, prototype, reconditioned

or discontinued models or materials are not acceptable. The warranty period for CONTRACTOR provided

materials shall be for a period of one year after completion of the installation or within the manufacturer's

warranty, whichever is the later period. The warranty period shall commence upon date of acceptance by

CITY. The CONTRACTOR shall provide the CITY LIASON with all manufacturers' warranty documents

upon completion of installation and training prior to leaving the job site.

c. In the event that the new equipment or parts installed by the CONTRACTOR fails and is under warranty, the

CONTRACTOR will be responsible for replacement and contacting the company for warranty repair. The

CITY will not be responsible for any additional costs to repair new equipment or parts that are still under

warranty. The CONTRACTOR is responsible for all liability.

F. If WORK cannot be completed during regular business hours (excludes emergency repairs) and the CONTRACTOR

can make a temporary repair or can wait until next day, the CONTRACTOR will be allowed to finish the repair during

regular business hours the next day unless otherwise agreed by both parties.

G. If overtime hours are required to complete work, CONTRACTOR must receive approval from the CITY LIASON

prior to commencement of work, unless deemed an emergency.

H. Estimated repair times shall be submitted when requested. Billing shall be based on actual labor hours and actual

equipment and parts used. All labor hours will be charged upon arrival to the job-site. “Travel time” will NOT be

paid by the CITY.

I. CONTRACTOR must indicate the % mark-up from actual procurement costs for all parts supplied under this

Agreement. Copies of parts invoices or other appropriate documentation must be supplied with the CONTRACTOR’s

invoice to support these procurement costs.

J. CONTRACTOR will be required to keep legible and detailed documentation on all WORK performed under this

Agreement. Detailed documentation shall include but not limited to:

a. Name of CITY representative that placed

the service call

b. Date of service

c. Time in and time out

d. Facility name and address

e. Equipment serviced

f. Detailed diagnosis of problem/repair

g. Services performed

h. Number of service hours

i. Material(s) used

j. Cost of material(s)/equipment

k. Name and title of technician(s) and

helpers

l. Signed work order by CITY LIASON or

other authorized representative

m. Warranty of any new material/equipment

installed.

K. CONTRACTOR shall monitor the overall performance of all system equipment and provide the CITY with written

recommendations for any enhancements or changes necessary. CONTRACTOR shall submit documentation within

seven (7) days after notification from CITY.

L. CONTRACTOR will assist CITY personnel in making repairs to eliminate or reduce downtime of vital

HVAC/Refrigeration systems at various CITY facilities as required. CITY personnel may also assist CONTRACTOR

and/or act as a substitute for technician’s helper when necessary.

a. CONTRACTOR shall obtain approval from CITY LIASON for service requiring a helper or more than one

technician. The CITY will not pay for additional technicians without approval from CITY LIASON.

M. Any shutdown of service and/or utilities must be scheduled and approved by CITY LIASON.

N. CONTRACTOR shall cover all furnishings and floor area located below the equipment with tarps or plastic sheeting

prior to commencing work.

a. Should any damage to any public or private property result from the CONTRACTOR’s operation,

CONTRACTOR shall pay such repairs and may be responsible to compensate for such losses. Arrangements

for such compensation shall be made directly between the CONTRACTOR and party involved.

O. CONTRACTOR will be responsible for the removal of all trash and debris before leaving the work area. Clean up of

the work area is deemed incidental and shall be at no additional cost to the CITY.

P. The CONTRACTOR shall not subcontract any portion of work. If the need arises for subcontracted services the

CONTRACTOR must receive written authorization from the CITY prior to beginning any subcontracted service.

Q. All commodities and/or services shall comply with applicable OSHA regulations in effect of the time commodities are

shipped and/or service is performed. SDS are required in accordance with applicable regulations. All SDS must be

left on site.

R. If awarded, the contract resulting from this RFP shall not provide the CONTRACTOR an exclusive right to all HVAC

services. The CITY may elect to competitively bid any project, if deemed to be in the CITY’s best interest.

SERVICE CALLS AND RESPONSE TIME:

A. CONTRACTOR shall complete all work during normal working hours from 7:00 AM to 5:30 PM, unless the CITY

has placed a service call outside this timeframe. The CITY LIASON may approve or disapprove of any work to be

scheduled outside of normal working hours.

B. CONTRACTOR shall be available for emergency calls on a twenty-four (24) hour basis, seven days a week.

C. CONTRACTOR shall respond and commence work within two (2) hours for emergency repairs and four (4) hours for

non-emergency/regular repairs, or as agreed by both parties.

D. CONTRACTOR shall try to complete WORK during service call in order to prevent follow up work.

a. If follow up work is required to correct recent work, including improper repairs, installation, or substandard

parts, the CITY will not be charged.

b. If follow up work is required to complete recent work, labor hours and/or materials shall be billed

accordingly.

E. During an emergency, if CONTRACTOR shall fail to respond to service call within the time specified, the CITY

reserves the right to procure such services from a different vendor and may lead to contract termination.

TRIP/TRUCK/SERVICE CHARGES

Such charges, if applicable, shall be charged per job. Charges will not apply for follow-up work. Trip charges are allowed

when the technician examines the equipment and nothing is found to be wrong and therefore actual labor is not required.

Should this be the case, only the trip charge is allowed, no labor charges shall be imposed on the CITY.

SERVICE COVERAGE LOCATIONS

Buildings to be covered under this Agreement may include any of the following or a combination thereof:

Facility Address

1. City Hall Complex *                                         3800 University Blvd.

2. Public Works Administration                            3826 Amherst

3. Public Works Operations                                   3825 Milton

4. Public Works Fleet & Traffic                            3826 Milton

5. Community Building                                         6104 Auden

6. Library                                                               6108 Auden

7. Scout House                                                       6108 Edloe

8. Colonial Park Recreation Center                       4130 Byron

9. West U Recreation Center                                 4210 Bellaire

10. Sewer Treatment Plant                                    2801 N. Braeswood

11. Public Works new facility                               5400 Dincans.

*City Hall Complex includes Police and Fire Dept.

EMPLOYEES

A. All employees shall be considered to be at all times the sole employee of the CONTRACTOR under its sole direction.

CONTRACTOR shall supply competent and physically capable employees. The CITY may require the

CONTRACTOR to remove or reassign an employee deemed careless, incompetent, insubordinate, or otherwise

objectionable and whose continued employment on the property is not in the best interest of the CITY.

B. CONTRACTOR will provide all employees with suitable identification (ID badge and/or Uniform) to include

employee name and name of CONTRACTOR. ID is required to be worn by the employee at all times when on the

CITY’s property and in a conspicuous location on their person (i.e. around the neck, clipped to a front shirt pocket,

etc.) that can easily be seen by others. Location of ID should not create an unsafe condition for the CONTRACTOR’s

employees.

C. CONTRACTOR shall maintain current and valid licenses throughout the Agreement period. All licenses are subject

to verification at the CITY’s discretion. CONTRACTOR will not be allowed to perform work on CITY premises

without current and valid licenses.

D. CONTRACTOR must, as a routine business practice or policy, perform background checks on all employees hired

and that it is their practice or policy not to hire persons with a criminal record. Background check guidelines are as

follows:

(1) Background checks shall be performed on the CITY, County, and State level.

(2) Employees shall not be used for this project if they are found to have any conviction relating to theft, identity

fraud, vandalism, or do not meet the CITY’s background requirement checks.

(3) Employees with a felony conviction may not participate in service relating to this contract.

CONTRACTOR will furnish the CITY with a letter stating that all employees subject to working on CITY property

have had background checks performed. Letter needs to be re-submitted every year or with change of personnel.

SUPERVISORY REQUIREMENT

A. CONTRACTOR will provide an experienced supervisor who can be contacted by the CITY during normal business

hours (and during emergencies if needed) Monday through Friday, 7:00 A.M. to 5:30 P.M. Supervisor will be available to

meet with the CITY on an as needed basis. Meetings will be scheduled with advance notice. The purpose is to review for

quality control.

B. Employees of the CONTRACTOR will have access to a supervisor when on duty for any required consultation or advice.

CONTRACTOR will establish primary and secondary contact person, supervisor may be one of the contacts.

CONTRACTOR will be responsible for notifying the CITY if any/all employee(s) assigned to service facilities are

terminated, transferred, or replaced at any given time.

WORK VERIFICATION

A. Prior to the commencing of any WORK, the CONTRACTOR shall check in with designated CITY LIASON. The

CONTRACTOR shall present daily work orders or schedule with a brief description of the work to be performed. At

that time, additional instructions, if any, will be provided. The CITY reserves the right to request from

CONTRACTOR a written cost estimate before authorizing the work.

B. When the WORK is completed or upon cessation of WORK, the CONTRACTOR shall notify CITY LIASON to

verify and approve the CONTRACTOR's work order(s) or documentation. The CONTRACTOR's copy of the work

order, with the CITY LIASON's verification and approval signature, shall be submitted with the CONTRACTOR's

invoice for payment. Invoices submitted without the appropriate work order and approval will not be processed for

payment until proper documentation is received.

PROTECTION:

A. General:

CONTRACTOR is solely responsible for job site safety and security.

B. Warnings and Barricades; Security:

CONTRACTOR shall provide any necessary safety warnings and barricades and so regulate his schedule so as to

comply with all regulatory agencies. The job site and all portions thereof shall be kept secure or so as to prevent harm

to passers-by and to prevent unauthorized entry, at all times.

C. CONTRACTOR shall provide all personal protective equipment (PPE) such as harnesses, hardhats, safety glasses, and

breathing protection, and also responsible to ensure that all personnel are trained and qualified in their use

PRE-JOB DAMAGE SURVEY:

A. CONTRACTOR shall perform a thorough survey of each facility and any potentially affected equipment prior to

starting the WORK to document existing damage. Damage identified in survey will not be the responsibility of

CONTRACTOR unless further damaged by the WORK.

B. Any damage to the CITY’s facilities or equipment not identified in the pre-job damage survey occurring during the

time of CONTRACTOR’s operations shall be presumed to have been caused by CONTRACTOR, who shall correct it

at no additional expense to the CITY.

C. CONTRACTOR shall be responsible for any loss or damage caused by him or his workers to the property of the CITY

or others and shall immediately repair or replace such loss or damage to the complete satisfaction of the CITY.

ADDITIONAL SERVICES

A. These shall be such services (when applicable) not covered under the routine and preventative maintenance services

stated within the scope of work. Additional services shall cover only work required to bring the equipment up to

code; perform work due to the result of abuse, physical damage, etc.; and work not covered under the routine

preventive maintenance and repair service.

B. The CONTRACTOR shall assume the responsibility to provide the burden of proof that the cause of the equipment

malfunction was due to abuse. The equipment shall be taken out of operation until the CITY LIASON inspects the

damages and authorizes work to be performed. Any additional work shall be billed accordingly as agreed by CITY

and CONTRACTOR.

C. CONTRACTOR is encouraged to include pricing on a separate page detailing other services not specifically listed in

this bid. CONTRACTOR understands that the CITY may request such services at any time during the term of this

Agreement.

EXHIBIT A

Recommended Maintenance schedule – the following are only a few recommended guidelines. Preventive maintenance shall

be completed per Manufacturer’s specifications. CONTRACTOR may make additional suggestions as needed, subject to the

approval of the City. Jobsite conditions may dictate that maintenance schedule is performed more often than recommended.

The service schedule dates will be subject to the City’s approval.

EVERY 3 MONTHS (for all machines) (Total 3 per year per unit)

- Visually inspect Chiller

- Functionally test and calibrate safety and operating controls per manufacturer’s recommendation

- Start unit. Check control and calibrate as necessary.

- Check all set points for proper setting and function.

- Check refrigerant charge.

- Check all refrigerant joints and valves for refrigerant leaks, repair as necessary.

- Check chilled water flow switch operation.

- Check condenser coils and evaporator for debris, clean as necessary

- Check sight glass moisture indicator for moisture.

- Check all motors, starters, and condensing fans.

- Check all oil and filters. Change as necessary. Check oil level, oil pump, seals, strainers, valves. Report any leaks or

non-standard conditions.

- Check crankcase heater operation

- Inspect pump seal, if equipped with hydronic pump package

EVERY 12 MONTHS (for all machines) (Total 1 per year per Unit)

- Check all electrical connections, tighten as necessary.

- Inspect all contactors and relays, replace as necessary.

- Check accuracy for thermistors replace if greater than +/- 2 F (1.2 C) variance from calibrated thermometer.

- Check accuracy of transducers, replace if greater than +/- 5 psi (34.47 kPa) variance.

- Check to be sure that the proper concentration of antifreeze is present in the chilled water loop, if applicable.

- Verify that the chilled water loop is properly treated

- Check refrigerant filter driers for excessive pressure drop, replace as necessary.

- Check chilled water strainers, clean as necessary.

- Check cooler heater operation, if equipped.

- Check condition of condenser fan blades and that they are securely fastened to the motor shaft.

- Perform service Test to confirm operation of all components.

- Check for excessive cooler approach (Leaving Chilled Water Temperature – Saturated Suction Temperature) which

may indicate fouling. Clean cooler vessel if necessary.

ATTACHMENTS

Attachment	A-1	Sample Score Sheet

Attachment	A-2	Release & Indemnification

Attachment	A-3	General Services Contract

Attachment	A-4	Bid Submittal Package

- Bid Cover Sheet

- Bid Checklist

- Qualification Statement

- Price Schedule –

- Resident Certification Tax Form

- Bid Offer Guaranty and Performance and/or Payment Bond

- Bid Bond

- Performance Bond

- Payment Bond

- Bid Check Return Authorization Form

- Insurance Specifications

- Workers’ Compensation Insurance Coverage

- Reference Sheet

- Conflict of Interest Questionnaire

ATTACHMENT A1

JOB NO. PW26-04

SAMPLE SCORE SHEET

Job # PW26-04 – Three Year Term Contract for Maintenance and Repair of HVAC Systems with Two Optional One Year Extensions

CONTRACTOR:_____________________________________________________________________

EVALUATOR:_______________________________________________________________________

| ITEM | EVALUATION CRITERIA | WEIGHT | SCORE (1-10) | REVISED SCORE (1-10) |
| --- | --- | --- | --- | --- |
|  | Proposer’s reputation based on reference checks and examination of reference properties | 15 |  |  |
|  | Experience in performance of comparable engagements | 15 |  |  |
|  | Conformance with the terms of the RFP | 25 |  |  |
|  | Proposed maintenance procedures | 25 |  |  |
|  | Reasonableness of cost | 20 |  |  |
|  | TOTAL | 100 |  |  |

After reading proposals, assign a score for each criterion above between 1 and 10, with 1=Poor and 10=Excellent. The Revised Score column should be left blank until the scheduled evaluation meeting

Below is a brief description of the issues related to each factor:

1. Proposer’s reputation based on reference checks and examination of reference properties: Does                 the CONTRACTOR have prior experience that will ensure all the skills necessary to perform tasks well? Did the CONTRACTOR have success in other work for a private or governmental entity? Does the CONTRACTOR’s previous work convince you of its successful completion of these duties? Has the CONTRACTOR provided adequate references?

2. Experience in performance of comparable engagements: Did the CONTRACTOR provide sufficient data to convince you that it will do a good job for the CITY OF WEST UNIVERSITY PLACE? Was the proof compelling? Are you confident that this CONTRACTOR has the knowledge, skills, and abilities to perform all its tasks well? Will the CONTRACTOR’s resources be adequate to serve the CITY’s needs? Does the CONTRACTOR suggest new ways to enhance performance? Does the CONTRACTOR have the flexible capacity to handle all the needs of the CITY as they continue to change? Did the CONTRACTOR present sufficient work history to convince you of its ability? Has the CONTRACTOR been in business long enough to provide good stability? Has the CONTRACTOR experienced ownership changes that would impact its services? Has there been any censure or litigation history?

3. Conformance with the terms of this RFP: Did the CONTRACTOR’s proposal provide all the necessary information requested in the RFP in a professional manner? Did the proposal cause doubt regarding its ability to complete the necessary tasks? Was the proposal easy to understand and did it provide answers to questions, or create more questions?

4. Proposed maintenance procedures: Does CONTRACTOR propose a quality maintenance procedure that is up to the standards that the CITY desires to maintain? Is the staff that will be assigned to this project by the CONTRACTOR the best qualified to complete the tasks? Will they be available to insure completion of the project? Will they be available for follow-up issues? Is sufficient staff assigned to handle these duties? Is there a local office or contact person? Will assigned staff respond to issues within a reasonable amount of time?

5. Reasonableness of cost: Has the CONTRACTOR established a cost that is reasonable for the project?         Is the City of West University Place receiving good value for its dollar? Does the fee appear cost-effective? Are the cost reasonable compared to the competition? Will there be any additional costs or other ongoing expenses?

ATTACHMENT A-2

JOB NO. PW26-04

RELEASE AND INDEMNIFICATION

RELEASE:

CONTRACTOR RELEASES THE CITY, ITS AGENTS, EMPLOYEES, OFFICERS, AND LEGAL REPRESENTATIVES (COLLECTIVELY THE “CITY”) FROM ALL LIABILITY FOR INJURY, DEATH, OR DAMAGE TO PERSONS OR PROPERTY SUSTAINED IN CONNECTION WITH PERFORMANCE UNDER THIS AGREEMENT, INCLUDING INJURY, DEATH, OR DAMAGE CAUSED BY THE CITY’S SOLE OR CONCURRENT NEGLIGENCE.

INDEMNIFICATION:

CONTRACTOR SHALL DEFEND AND INDEMNIFY THE CITY, ITS AGENTS, EMPLOYEES, OFFICERS, AND LEGAL REPRESENTATIVES (COLLECTIVELY, THE “CITY”) FOR ALL THIRD-PARTY CLAIMS, LIABILITIES, FINES, AND EXPENSES (INCLUDING ALL DEFENSE COSTS AND INTEREST) FOR INJURY, DEATH, OR DAMAGE TO PERSONS OR PROPERTY SUSTAINED IN CONNECTION WITH OR INCIDENTAL TO PERFORMANCE UNDER THIS AGREEMENT INCLUDING THOSE CAUSED BY:

- CONTRACTOR’S ACTUAL OR ALLEGED NEGLIGENCE OR INTENTIONAL ACTS OR OMISSIONS.

- THE CITY’S AND CONTRACTOR’S ACTUAL OR ALLEGED CONCURRENT NEGLIGENCE, WHETHER CONTRACTOR IS IMMUNE FROM LIABILITY OR NOT; AND

- THE CITY’S AND CONTRACTOR’S STRICT OR STATUTORY LIABILITY, WHETHER CONTRACTOR IS IMMUNE FROM LIABILITY OR NOT.  CONTRACTOR SHALL DEFEND AND INDEMNIFY THE CITY DURING THE TERM OF THIS AGREEMENT AND FOR FOUR (4) YEARS AFTER THE AGREEMENT TERMINATES.  CONTRACTOR'S INDEMNIFICATION IS LIMITED TO $500,000 PER OCCURRENCE.  CONTRACTOR SHALL NOT INDEMNIFY THE CITY FOR THE CITY’S SOLE NEGLIGENCE.

INDEMNIFICATION PROCEDURES:

- Notice of Claims.

If the CITY or CONTRACTOR receives notice of any claim or circumstances, which could give rise to an indemnified loss, the receiving party shall give written notice to the other party within 10 days. The notice must include the following:

- a description of the indemnification event in reasonable detail,

- the basis on which indemnification may be due, and

- the anticipated amount of the indemnified loss.

The notice does not stop or prevent the CITY from later asserting a different basis for indemnification or a different amount of indemnified loss than that indicated in the initial notice. If the CITY does not provide this notice within the 10 day period, it does not waive any right to indemnification except to the extent that CONTRACTOR is prejudiced, suffers loss, or incurs expenses because of the delay.

- Defense of Claims

- Assumption of Defense: CONTRACTOR may assume the defense of the claim at its own expense with counsel chosen by it that is reasonably satisfactory to the CITY.  CONTRACTOR shall then control the defense and any negotiations to settle the claim.  Within 10 days after receiving written notice of the indemnification request, CONTRACTOR must advise the CITY as to whether or not it will defend the claim.  If CONTRACTOR does not assume the defense, the CITY shall assume and control the defense, and all defense expenses constitute an indemnification loss.

- Continued Participation: If CONTRACTOR elects to defend the claim, the CITY may retain separate counsel to participate in (but not control) the defense and to participate in (but not control) any settlement negotiations.  CONTRACTOR may settle the claim without the consent or agreement of the CITY, unless it

- would result in injunctive relief or other equitable remedies or otherwise require the CITY to comply with restrictions or limitations that adversely affect the CITY,

- would require the CITY to pay amounts that CONTRACTOR does not fund in full,

would not result in the CITY’s full and complete release from all liability to the plaintiffs.

GENERAL SERVICES CONTRACT- REFERENCE ONLY                                ATTACHMENT A-3

JOB NO. PW26-04

GENERAL SERVICES CONTRACT

Rev. 11/20/2025

This General Services Contract (Contract) is made between the City of West University Place, Texas (City), and Contractor.  The City and Contractor agree to the terms and conditions of this Contract, which consists of the following parts:

- Summary of contract terms                                               IV. Special Terms and Conditions

- Signatures                                                                           V. Additional Contract Documents

- Standard Contractual Provisions

- Summary Contract Terms.

#### Contractor:

Description of Services:   PW26-04 Three year term for Maintenance and Repair Of HVAC/ Refrigeration S.

Annual/Base Services:

Additional Work in addition to Base Services:

Effective Date:

Termination Date:

Renewal:  As per written agreement only

II.  Signatures.  By signing below, the parties agree to the terms of this Contract:

CITY OF WEST UNIVERSITY PLACE: *	CONTRACTOR: _

By:  		By:

Title: 		Title:

Date:                                                                                 Date:

______Council Approved on ____/__/________

______ City Manager

______ Department Head

______ Division Head

*Contract Signature Authority:          Division Head & Managers - $6,999 or less

Directors - $7,000 to $24,999
	City Manager - $25,000 to $99,999
	Over $100,000 – City Manager with City Council Authorization

__________________________________

Attest:  City Secretary

III Standard Contractual Provisions.

- Definitions.

Contract means this General Services Contract.

Services means the services for which the City solicited bids or received proposals as described in this Contract.

- Services and Payment.  Contractor will furnish Services to the City in accordance with the terms and conditions specified in this Contract.  Contractor will bill the City for the Services provided at intervals of at least 30 days, except for the final billing.  The City shall pay Contractor for the Services in accordance with the terms of this Contract, but all payments to be made by the City to Contractor, including the time of payment and the payment of interest on overdue amounts, are subject to the applicable provisions of Chapter 2251 of the Government Code.

- Termination Provisions.

- City Termination for Convenience.  The City may terminate this Contract during its term at any time for the City’s own convenience where the Contractor is not in default by giving thirty (30) days written notice to Contractor.  If the City terminated this Contract under this paragraph, the City will pay the Contractor for all services rendered in accordance with this Contract to the date of termination.

- Termination for Default.  Either party to this Contract may terminate this Contract if the other party fails to comply with its terms.  The party alleging the default will give the other party notice of the default in writing citing the terms of the Contract that have been breached and what action the defaulting party must take to cure the default.  If the party in default fails to cure the default as specified in the notice within 10 days, the party giving the notice of default may terminate this Contract by written notice to the other party, specifying the date of termination.  Termination of the Contract under this paragraph does not affect the right of either party to seek remedies for breach of the Contract as allowed by law, including any damages or costs suffered by either party.

- Multi-Year Contracts and Funding.  If this Contract extends beyond the City’s fiscal year in which it becomes effective or provides for the City to make any payment during any of the City’s fiscal years following the City’s fiscal year in which this Contract becomes effective and the City fails to appropriate funds to make any required Contract payment for that successive fiscal year and there are no funds from the City’s sale of debt instruments to make the required payment, then this Contract automatically terminates at the beginning of the first day of the City’s successive fiscal year of the Contract for which the City has not appropriated funds or otherwise provided for funds to make a required payment under the contract.

- Liability and Indemnity.  Any provision of any attached contract document that limits the Contractor’s liability to the City or releases the Contractor from liability to the City for actual or compensatory damages, loss, or costs arising from the performance of this Contract or that provides for contractual indemnity by one party to the other party to this Contract is not applicable or effective under this Contract.  Except where an Additional Contract Document provided by the City provides otherwise, each party to this Contract is responsible for defending against and liable for paying any claim, suit, or judgment for damages, loss, or costs arising from that party’s negligent acts or omissions in the performance of this Contract in accordance with applicable law.  This provision does not affect the right of either party to this contract who is sued by a third party of acts or omissions arising from this Contract to bring in the other party to this Contract as a third-party defendant as allowed by law.

- Assignment.  The Contractor shall not assign this Contract without the prior written consent of the City.

- Law Governing and Venue.  This Contract is governed by the law of the State of Texas and a lawsuit may only be prosecuted on this Contract in a court of competent jurisdiction located in or having jurisdiction in Harris County, Texas.

- Entire Contract.  This Contract represents the entire Contract between the City and the Contractor and supersedes all prior negotiations, representations, or contracts, either written or oral.  This Contract may be amended only by written instrument signed by both parties.

- Independent Contractor.  Contractor shall perform the work under this Contract as an independent contractor and not as an employee of the City.  The City has not right to supervise, direct, or control the Contractor or Contractor’s officers or employees in the means, methods, or details of the work to be performed by Contractor under this Contract.  The City and Contractor agree that the work performed under this Contract is not inherently dangerous, that Contractor will perform the work in a workmanlike manner, and that Contractor will take proper care and precautions to ensure the safety of Contractor’s officers and employees.

- Dispute Resolution Procedures.  The Contractor and City desire an expeditious means to resolve any disputes that may arise between them regarding this Contract.  If either party disputes any matter relating to this Contract, the parties agree to try in good faith, before bringing any legal action, to settle the dispute by submitting the matter to mediation before a third party who will be selected by agreement of the parties.  The parties will each pay one-half of the mediator’s fees.

- Attorney’s Fees.  Should the City bring suit against the Contractor for breach of contract or for any other cause relating to this Contract, the City shall be entitled to seek an award of attorney’s fees or other costs relating to the suit.

- Severability.  If a court finds or rules that any part of this Contract is invalid or unlawful, the remainder of the Contract continues to be binding on the parties.

- Work Product.  Any work product generated as a result of this Contract shall be the property of the City.

- Special Terms or Conditions.

- State Disclosure Requirements.  As required by Section 2252.908, Texas Government Code, if this Contract requires an action or vote by the City before the contract may be signed, or has a value of at least $1 million, then the City may not enter into such Contract unless the Contractor submits a disclosure of interested parties to the City at the time the Contractor submits the signed Contract to the City. The Contractor agrees to submit such disclosure as required by Section 2252.908 of the Texas Government Code on the form 1295, prescribed by the Texas Ethics Commission, unless the Contractor is a publicly traded entity or a wholly owned subsidiary of same, in which case no disclosure is required. The Contractor agrees to access the Texas Ethics Commission website and complete the form 1295, receive a confirmation number and a PDF version of the completed form 1295, execute and notarize a hard copy version of the completed form 1295, and submit it, along with the confirmation number, to the City.

- Other State Requirements.  The Contractor hereby certifies that it and its parent company, wholly-owned or majority-owned subsidiaries, and other affiliates comply with and agree to abide by the requirements of Texas Government Code Chapter 2252 (foreign terrorist organizations prohibited), Chapter 2264 (undocumented workers), Chapter 2271 (boycott-Israel), and Chapter 2274, Texas Government Code (boycotts-energy company; discrimination – firearms entity or trade association).

- Additional Contract Documents.  The following specified documents attached to this Contract are part of this Contract, except as follows:  any provision contained in any of the Contractor’s Additional Contract Documents specified below that conflicts with Sections III or IV of this General Services Contract, does not apply to this contract.

- Contractor’s Additional Contract Documents:

- [bid documents]

- City’s Additional Contract Documents:

- [required insurance]

## END OF DOCUMENT

ATTACHMENT A-4

JOB NO. PW26-04

WEST UNIVERSITY PLACE

BID SUBMITTAL PACKET

WEST UNIVERSITY PLACE                    Job No.

BID COVER SHEET	                        PW26-04

BID FOR: Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

DUE DATE:  	FEBRUARY 25, 2026

Due no later than 10:00 A.M. CST.   Bids received later than the date and time above will not be considered.

BIDDERS NOTE:     	Carefully read all instructions, requirements and specifications.  Fill out all forms properly and completely.  Submit your bid with all appropriate supplements and/or samples in an appropriately sized envelope or box.  PACKAGE MUST SHOW THE JOB NUMBER, DESCRIPTION AND BE MARKED "SEALED BID".

RETURN BID TO:	       City of West University Place

City Secretary’s Office

3800 University Blvd.

West University Place, Texas 77005

Phone: 713-662-5812   Fax: 713-662-2705

Project Officer:  Rosendo Ortiz  Facility Manager

Total Amount of Bid:  	$

Company Name:

Company Address:

City, State, Zip Code:

Taxpayer Identification Number (T.I.N.):

Signature: 						  Print Name

[Your signature attests to your offer to provide the goods and/or services in this bid according to the published provisions of this Job and certifies that all statements made by you are true, complete and correct.  All prices and signatures must be typewritten or written in ink.  Contract is not valid until Award Letter is issued, which will become part of this contract.]

Accepted by:_______________________________________  	Date:  _____________________________

ATTACHMENT A-4b

JOB NO. PW26-04

#### BID CHECKLIST

This checklist is intended as a reminder of what must be included in the bid. Bidder must sign Bid Checklist acknowledging that all checked items have been submitted with bid.

If a bidder fails to submit the following items in its bid, the CITY may consider the bid non-responsive.

Qualification Statement

Price Schedule

Residence Certificate/Tax Form

Bond Forms (NOT NEEDED FOR THIS BID)

Bid Bond (Bid bond must be 5% of Total Bid Amount)

Performance Bond

Payment Bond

Bid Check Return Form (NOT NEEDED FOR THIS BID)

Insurance and Worker’s Compensation Specifications

Reference Sheet (5 sheets should be submitted)

Conflict of Interest Questionnaire (if applicable)

General Service Contract (CITY will provide upon awarding of contract)

Other Forms (Check only if Bidder has submitted a separate page detailing pricing for services not mentioned in this bid.

______________________________________ 		__________________________     _BIDDER					  		DATE

ATTACHMENT A-4c

JOB NO. PW26-04

QUALIFICATION STATEMENT

City: 			City of West University Place, Texas

City’s Office:		City Secretary’s Office

3800 University Blvd.

West University Place, Texas 77005

Phone: 713-662-5813  	Fax: 713-349-2705

Project: 		Job # PW26-04 Three-Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

Project Location: 	Various Public Buildings in the City

Project Officer: 		Rosendo Ortiz Facility Manager

SIMILAR WORK (DEFINITION):

Janitorial Services for city own facilities.

NOTE:  If any bid is to be made jointly by two or more entities, each entity must complete a separate statement.

The undersigned BIDDER certifies the following, under oath:

A.  GENERAL:

Full Legal Name of BIDDER:  _________________________________________________________

Check one: (  ) Partnership  (  ) Joint Venture  (  ) Corporation

(  ) Other:__________________________________________________________________________

Address:  __________________________________________________________________________

Telephone:  ________________________ 			Fax:  ___________________________

Texas Vendor Identification No.:  _______________________________________________________

Tax Identification No.:  _______________________________________________________________

B.  ORGANIZATIONAL BACKGROUND:

1.	If the BIDDER is a PARTNERSHIP or JOINT VENTURE

a.	Date of organization:  _________________________________________________________

b.	State whether partnership is general or limited:  _____________________________________

c.	List all general partners and any limited partners owning 10% or more:

Name			Address			Phone			% owned

___________________________________________________________________________

2.	If BIDDER is a CORPORATION or LLC:

a.	Date of incorporation or formation: ______________________________________________

b.	State of incorporation or formation: ______________________________________________

c.	Charter/permit number:  _______________________________________________________

d.	Principal place(s) of business:  __________________________________________________

e.	Other state(s) in which firm is authorized to do business:  _____________________________

f.	Officers

President:  ___________________________________________________________

Vice President(s):  _____________________________________________________

Secretary:  ___________________________________________________________

Treasurer:  ___________________________________________________________

Other:  ______________________________________________________________

g.	List all persons and entities owning 10% or more of the firm:

Name			Address			Telephone		% owned

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

3.	If the BIDDER is other than a partnership, LLC or corporation:

a.	Describe the organization:  ______________________________________________________

b.	List all principals of the organization:

Name			Address			Telephone		Title

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

c.	Date and manner of the organization’s formation:  ___________________________________

4.	How long has the BIDDER done business under its present name and at its present address?

_______ years

a.	Under what other or former names and addresses has the BIDDER operated in the past five years?

Name				Address				Years

____________________________________________________________________________

____________________________________________________________________________

b.	Has the BIDDER ever defaulted, declared bankruptcy, or undergone reorganization procedures?

_____Yes			_____No

If "yes", attach details: list of creditors, amounts owed, amounts repaid, resolution of proceedings, etc.

c.	Has a predecessor of the BIDDER defaulted, declared bankruptcy, or undergone reorganization procedures?

_____Yes			_____No

If "yes", attach details, as above.

d.	Does the BIDDER presently have outstanding claims pending against it?

_____Yes			_____No

If "yes", attach details, as above.

e.	Has the BIDDER been involved in litigation within the past five years, or is it currently involved in litigation?

_____Yes			_____No

If "yes", attach details, as above.

f.	Has an officer or principal of the BIDDER ever engaged in any of the activities or had claims against it, him or her as described in this Part B?

_____Yes			_____No

If "yes", attach details, as above.

5.	Has BIDDER ever changed its name, changed its form of organization or merged?

_____Yes			_____No

If “yes,” attach a detailed description of any name changes, changes in entity form or mergers, including documentary proof that any surviving entity succeeded to all liabilities of the pre-existing entities.

C. 	SIMILAR WORK:

(Note: "similar work" is defined above.)

1.	How many years experience in “similar work” has the BIDDER had?

a.	As a general contractor: _____years

b.	As a subcontractor:_____ years

2.	Has the BIDDER ever failed to complete a contract, forfeited a bid bond/proposal guaranty, had liquidated damages withheld from its total compensation due on a contract (in excess of 1% of total contract payments), or refused to enter into contract for work awarded to it?

_____Yes			_____No

If "yes", attach details: (a) name of project, (b) contract amount, (c) type of work, (d) name and addresses of: (i) project engineer, (ii) contractor, and (iii) owner, (e) when, (f) where, and (g) why.

3.	BIDDER must attach a "Reference Sheet" (form attached) for each of the BIDDER's five largest current projects with “similar work” and for BIDDER’s five most recently terminated projects with “similar work” (terminated projects include projects and facilities where BIDDER’s services terminated for any reason and projects for which a contract was awarded but the work was not started).

NOTE: A minimum of five (5) Reference Sheets must be completed and attached.  Other references are to be submitted to the CITY upon request.

D.  	CERTIFICATION:

The BIDDER certifies, under oath, that all information contained in or attached to this Statement is current, correct, and complete.  Any person, depository, agency, or other entity named in the Statement or attachments is authorized to supply the CITY or its representative with any information necessary to verify information from this Statement.

_______________________________________

(Print or type Bidder’s name)

By:(authorized signature)________________________________________

Name:____________________________	Title:________________

Date:____________________

STATE OF TEXAS		§

COUNTY OF ___________ 	§

SWORN TO AND SUBSCRIBED before me on the        day of  ____________________

(SEAL)	      		Notary Public My Commission Expires:  __________________

ATTACHMENT A-4d

JOB NO. PW26-04

PRICING/DELIVERY INFORMATION

Pricing: CONTRACTOR must complete open boxes to right of double vertical lines.  Do not fill in gray shaded boxes. Quantities are estimated, CITY may require more or less.  In case of discrepancy between unit or multiplier and extended pricing, unit pricing or multiplier governs.  Pricing must be all-inclusive.  CITY will not allow for any other rates or charges.

| SERVICE CATEGORY | HOURS | RESPONSE TIME |  | TRIP/TRUCK SERVICE CHARGE | TECHNICIAN HOURLY RATE [*] | TECH. HELPER HOURLY RATE |
| --- | --- | --- | --- | --- | --- | --- |
| STANDARD SERVICE | Regular Business Hours | HRS |  | $ | $ | $ |
| AFTER HOURS/WEEKEND SERVICE | After regular business hours | HRS |  | $ | $ | $ |
| HOLIDAY TIME (per federal holidays) | As needed | HRS |  | $ | $ | $ |
| PERCENTAGE FOR MATERIAL/PARTS OVER COST (MATERIAL MARK-UP) |  |  | % |  |  |  |

[*] Technician Hourly Rate is, and will be, the contract rate that will be paid by the CITY for labor, under each Service Category. Hourly

Rate shall begin upon arrival at the job site and be billed for actual hours worked. Travel time will not be included within the Hourly Rate

nor paid by the CITY.

PRICING SCHEDULE FOR QUARTERLY AND ANNUAL SERVICE OF CHILLERS

| A | B | C | D | E |
| --- | --- | --- | --- | --- |

| FACILITY | QUARTERLY SERVICE | QUARTERLY X 3 (B X 3) | ANNUAL SERVICE | TOTAL ANNUAL COST |
| --- | --- | --- | --- | --- |
| CITY HALL | $ | $ | $ | $ |
| WEST UNIVERSITY RECREATION CENTER | $ | $ | $ | $ |
| POLICE DEPARTMENT | $ | $ | $ | $ |

CHILLER INFO:

| CITY HALL | WEST U RECREATION CENTER | POLICE DEPARTMENT |
| --- | --- | --- |
| MODEL: 30RBF08064-LL-C-MN | MODEL: 30RBA1606-0D79C | MODEL: 30RBF0806-NHN73C |
| SIZE: 80 TON | SIZE: 160 TON | SIZE: 80 TON |

GRAND TOTAL COST FOR CHILLER SERVICE:                                                          $__________________________

PRICING SCHEDULE FOR QUARTERLY AND ANNUAL SERVICE OF AIR HANDLERS [**]

| A | B | C | D | E |
| --- | --- | --- | --- | --- |

| FACILITY | QUARTERLY SERVICE | QUARTERLY X 3 (B X 3) | ANNUAL SERVICE | TOTAL ANNUAL COST (C + D) |
| --- | --- | --- | --- | --- |
| CITY HALL | $ | $ | $ | $ |
| WEST UNIVERSITY RECREATION CENTER | $ | $ | $ | $ |
| POLICE DEPARTMENT | $ | $ | $ | $ |

AIR HANDLER INFORMATION:

| CITY HALL | WESTU RECREATION CENTER | POLICE DEPARTMENT |
| --- | --- | --- |
| MODEL AP: 60, 150, 170, 250 | MODEL: 39MN21,39MN30, ITF-DH56 | MODEL: XTI-048, XTI-039 |
| QUATITY: 4 | QUANTITY: 3 | QUANTITY: 2 |

GRAND TOTAL COST FOR AIR HANDLER SERVICE:                                                           $_____________________

[**] Air handler service shall be optional pricing as requested by the CITY. It shall be understood that all other Quarterly and Annual

maintenance requested for other systems shall be billed in accordance with the pricing provided per hour stated above

ATTACHMENT A-4e

JOB NO. PW26-04

RESIDENCE CERTIFICATION/TAX FORM

Pursuant to Texas Government Code §2252.001 et seq., as amended, City of West University Place requests Residence Certification.  §2252.001 et seq. of the Government Code provides some restrictions on the awarding of governmental contracts; pertinent provisions of §2252.001 are stated below:

(3)	Nonresident bidder" refers to a person/company who is not a resident of this state.

- "Resident bidder" refers to a person/company whose principal place of business is in Texas, including a contractor  whose ultimate parent company or majority owner has its principal place of business in this state.

I certify that 				 is a Resident Bidder of Texas as defined in

[Company Name]

Government Code §2252.001.

I certify that 				 is a Nonresident Bidder as defined in

[Company Name]

Government Code §2252.001 and our principal place of business is 			      .

[City and State]

Taxpayer Identification Number (T. I. N.):

Company Name submitting Bid/Proposal:

Mailing Address:

If you are an individual, list the names and addresses of any partnership of which you are a general partner:

ATTACHMENT A-4f

JOB NO. PW26-04

BID/OFFER GUARANTY AND PERFORMANCE

AND/OR PAYMENT BOND

## INFORMATION AND REQUIREMENTS

A guaranty shall be submitted with each bid that the bidder will, if required, execute and furnish performance and/or payment bonds within ten days after award of the contract and receipt of contract and performance and/or payment bond forms.  Guaranty may be submitted in either of these forms:

A.	Individual bid bonds payable to City of West University Place for 5% for each separate bid, or

B.	Bank cashier's check payable to City of West University Place for 5% for each separate bid.

If the successful bidder submits a bank cashier's check, as guaranty, City of West University Place may elect to hold the check until all provisions of the contract have been completed, or require the contractor to make payment and/or performance bonds.  The bond(s) shall be in the amount of 100% of contract price, and shall be executed by a surety company authorized to do business in the State of Texas.

If the payment and/or performance bond forms and related documents are not returned to the City of West University Place, 3800 University Blvd, West University Place, Texas 77005 within ten days, The City has the right to render the award ineffective.  Written verification of the validity of the bond shall be received by the City from the Contractor's Surety before any payments will be made.

(NO GUARANTY OR BONDS ARE

REQUIRED FOR THIS BID)

ATTACHMENT A-4g

JOB NO. PW26-04

BID BOND

THE STATE OF TEXAS	§

COUNTY OF HARRIS	§

KNOW ALL MEN BY THESE PRESENTS that __________________________(hereinafter called the “Principal”), as Principal, and _______________________________( hereinafter called the “Surety”), as Surety, are held and firmly bound unto the CITY OF WEST UNIVERSITY PLACE, TEXAS (hereinafter called the “Obligee”), in the amount of Five Percent of the Greatest Amount Bid ($ 5% GAB ), for the payment whereof the said Principal and Surety bind themselves and their heirs, administrators, executors, successors and assigns, jointly and severally, firmly by these presents.

WHEREAS, the Principal has submitted a Bid or Proposal to enter into a certain written Contract with the Oblige to

Job # PW26-04 – Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

NOW, THEREFORE, the condition of this obligation is such that if the said Principal shall faithfully enter into such written Contract, then this obligation shall be void but otherwise, shall remain in full force and effect.

IT IS EXPRESSLY UNDERSTOOD AND AGREED that if said Principal should withdraw its Bid at any time after such Bid is opened but before official rejection of such Bid or, if successful in securing the award thereof, said Principal should fail to enter into the Contract and furnish satisfactory insurance documents, Performance Bond, Payment Bond, and Maintenance Bond, if required, the Oblige, in either of such events, shall be entitled and is hereby given the right to collect the full amount of this Bid Bond as liquidated damages.

Provided further that if any legal action be filed upon this Bond, venue shall lie in Harris County, Texas.

IN WITNESS WHEREOF, the said Principal and Surety do sign and seal this instrument this __________day of _________________, 20___

__________________________________		________________________________

Principal						Surety

By:________________________________		By:______________________________

Address____________________________		Address__________________________

ATTACHMENT A-4h

JOB NO. PW26-04

(PERFORMANCE BOND PAGE 1 OF 2)

PERFORMANCE BOND

THE STATE OF TEXAS	§

§	KNOW ALL MEN BY THESE PRESENTS:

COUNTY OF HARRIS	§

THAT WE, _______________________________, as principal, hereinafter called “Contractor”, and the other subscriber hereto as Surety, do hereby acknowledge ourselves to be held and firmly bound to The City of West University Place (“Owner”) in the sum of ______________________________________ ($_________________) for the payment of which sum, well and truly to be made to the Owner, and its successors, the said Contractor and Surety do bind themselves, their heirs, executors, administrators, successors and assigns, jointly and severally.

THE CONDITIONS OF THIS OBLIGATION ARE SUCH THAT:

WHEREAS, the said Contractor has on or about this day executed a contract in writing with the Owner, for

Job # PW26-04 – Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

all such work to be done as set out in full in said contract and plans and specifications therein referred to and adopted by the Owner, all of which are made a part of this instrument as fully and completely as if set out in full herein.

NOW, THEREFORE, if the said Contractor shall faithfully and strictly perform said contract in all its terms, provisions, and stipulations in accordance with its true meaning and effect, and in accordance with the plans and specifications referred to therein and shall comply strictly with each and every provision of said contract and with this bond, then this obligation shall become null and void and shall have no further force and effect; otherwise the same is to remain in full force and effect

It is further understood and agreed that the Surety does not hereby relieve the Owner or its representatives from the exercise of any diligence whatever in securing compliance on the part of the said Contractor with the terms of the said contract, and the Surety hereby waives any notice to it of any default, or delay by the Contractor in the performance of his contract and agrees that it, the said Surety, shall be bound to take notice of and shall be held to have knowledge of all acts or omissions of the said Contractor in all matters pertaining to said contract.  And the said Surety understands and agrees that the provision in said contract that is intended for the Owner’s benefit and the Owner shall have the right to pay or withhold said retained amounts or any other amount owing under said contract without changing or affecting the liability of the said Surety hereon in any degree

It is further expressly agreed by said Surety that the Owner or its representatives are set at liberty at any time, without notice to the Surety, to make any change in said plans, specifications and drawings and in the work to be done thereunder, as provided in said contract, and in the terms and conditions thereof, or to make any change in, additions to or deduction from the work to be done thereunder; and that such changes, if made, shall not in any way vitiate the obligation in this bond and undertaking, or release said Surety therefrom.

(PERFORMANCE BOND PAGE 2 OF 2

It is expressly agreed and understood that the Contractor and Surety will fully indemnify and save harmless the Owner from any liability, loss, cost, expense or damage arising out of our in connection with the work done by the Contractor under said contract.  By specific reference to Section 271.159 of the Texas Local Government Code (as amended by the 2005 Texas Legislature), said contract authorizes the prevailing party to recover its reasonable and necessary attorney’s fees in the adjudication of a claim by or against the Owner based on such contract, and the same rule shall apply to a claim by or against the Owner based on this bond.

This bond and all obligations created hereunder shall be performable in Harris County, Texas.  This bond is given in compliance with the provisions of Chapter 2253, Texas Government Code, as amended, which is incorporated herein by reference.  However, all of the express provisions hereof shall be applicable where or not within the scope of said statute.

IN TESTIMONY WHEREOF, the said Contractor and Surety have signed and sealed this instrument on the respective dates written below their signatures.

ATTEST/SEAL (if a corporation):			__________________________________

WITNESS (if not a corporation):			      (Full Name of Contractor, principal)

By:_______________________			By:___________________________

Name:							Name:

Title:							Title:

Date:							Date:

ATTEST/WITNESS:	(SEAL)				____________________________________

(Full Name of Surety)

By:_______________________			By:____________________________

Name:							Name:

Title:							Title:

Date:							Date

ATTACHMENT A-4i

JOB NO. PW26-04

(PAYMENT BOND PAGE 1 OF 2)

PAYMENT BOND

THE STATE OF TEXAS	§

§	KNOW ALL MEN BY THESE PRESENTS:

COUNTY OF HARRIS	§

THAT WE, _______________________________, as principal, hereinafter called “Contractor”, and the other subscriber hereto as Surety, do hereby acknowledge ourselves to be held and firmly bound to The City of West University Place (“Owner”) in the sum of ______________________________________ ($_________________) for the payment of which sum, well and truly to be made to the Owner, and its successors, the said Contractor and Surety do bind themselves, their successors and assigns, jointly and severally.

WHEREAS, the Contractor has on or about this day entered into a certain written contact with the Owner for,

Job # PW26-04 – Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

which contract is hereby referred to and made a part hereof as fully and to the same extent as if copied at length herein;

NOW, THEREFORE, THE CONDITION OF THIS OBLIGATION IS SUCH, that if the said Contractor shall pay all claimants supplying labor and materials to him or a subcontractor in prosecution of the work provided in such contract, then, this obligation shall be void; otherwise to remain in full force and effect.

PROVIDED, HOWEVER, that this bond is executed pursuant to the provisions of Chapter 2253, of the Texas Government Code, as amended, and all liabilities of this bond shall be determined in accordance with the provisions thereof to the same extent as if it were copied at length herein,

By specific reference to Section 271.159 of the Texas Local Government Code (as amended by the 2005 Texas Legislature), said contract authorizes the prevailing party to recover its reasonable and necessary attorney’s fees in the adjudication of a claim by or against the Owner based on such contract, and the same rule apply to a claim by or against the Owner based on this bond

(PAYMENT BOND PAGE 2 OF 2)

IN TESTIMONY WHEREOF, the said Contractor and Surety have signed and sealed this instrument on the respective dates written below their signatures.

ATTEST/SEAL (if a corporation):			__________________________________

WITNESS (if not a corporation):			      (Full Name of Contractor, principal)

By:_______________________			By:___________________________

Name:							Name:

Title:							Title:

Date:							Date:

ATTEST/WITNESS:	(SEAL)				____________________________________

(Full Name of Surety)

By:_______________________			By:____________________________

Name:							Name:

Title:							Title:

Date:							Date

ATTACHMENT A-4j

JOB NO. PW26-04

BID CHECK RETURN

AUTHORIZATION FORM

Bidder must complete this form and attach to bid check.  All bid checks must be for the required amount and be payable to City of West University Place (City), not payable to any individual.

If a bid, the City may retain the bid checks of the three lowest bidders until after the award and approval of the contract, receipt of a performance bond, and, if required, receipt of a payment bond.  The City shall return the bid checks of all other bidders at any time within seventy-two (72) hours following the opening of bids.  If an RFP, all bid checks will be retained by the City Secretary’s Office until after the award and approval of the contract, receipt of a performance bond, and, if required, receipt of a payment bond.

Authorization is hereby granted for the City to return the bid check via regular mail without liability of any kind or nature to the address listed below if:

- we are an unsuccessful bidder, or

- a performance bond, and payment bond, if required, has replaced the bid check, or

- upon completion of contract.

BID FOR: PW26-04 Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

Cashier's Check Number _______________________, Drawn on ____________________

Bank of ____________________________________, Dated _______________	 in the

Amount of $____________________.

Name: _____________________________________________________________________

Business Address: ____________________________________________________________

Signature: __________________________________________________________________

Mailing Address: ____________________________________________________________

City & State: _____________________________________Zip Code: __________________

Telephone: _____________________

For Official Use Only:

Date Check Mailed: _________________		By: _______________________________

Ledger Number: ____________________		Dept: _____________________________

ATTACHMENT A-4k

JOB NO. PW26-04

INSURANCE SPECIFICATIONS

Owner: City of West University Place

Project: PW26-04 Three Year Term Contract for Maintenance and Repair of HVAC/Refrigeration Systems with Two Optional One Year Extensions

INSURANCE: The successful bidder shall provide and maintain the minimum insurance coverage’s set forth below during the term of its agreement with the City.

- Commercial General Liability insurance at minimum combined single limits of $1,000,000 per-occurrence and $2,000,000 general aggregate for bodily injury and property damage, which coverage shall include products/completed operations ($1,000,000 products/ completed operations aggregate), and XCU (Explosion, Collapse, Underground) hazards.  Coverage must be written on an occurrence form.  Contractual Liability must be maintained covering the Contractor’s obligations contained in the contract.  The general aggregate limit must be at least two (2) times the each-occurrence limit.

- Workers Compensation insurance at statutory limits, including Employer’s Liability coverage at minimum limits of $500,000 each-occurrence each accident/$500,000 by disease each-occurrence/$500,000 by disease aggregate.

- Commercial Automobile Liability insurance at minimum combined single limits of $1,000,000 per-occurrence for bodily injury and property damage, including owned, non-owned and hired car coverage.

Any Subcontractor(s) hired by the Contractor shall maintain insurance coverage equal to that required of the Contractor.  It is the responsibility of the Contractor to assure compliance with this provision.  The City of West University accepts no responsibility arising from the conduct, or lack of conduct, of the Subcontractor.

A Comprehensive General Liability insurance form may be used in lieu of a Commercial General Liability insurance form.  In this event, coverage must be written on an occurrence basis, at limits of $1,000,000 each-occurrence, combined single limit, and coverage must include a broad form Comprehensive General Liability Endorsement, products/completed operations, XCU hazards and contractual liability.

With reference to the foregoing insurance requirement, Contractor shall specifically endorse applicable insurance policies as follows:

- The City of West University Place shall be named as an additional insured with respect to General Liability and Automobile Liability.

- All liability policies shall contain no cross-liability exclusions or insured versus insured restrictions.

- A waiver of subrogation in favor of The City of West University Place shall be contained in the Workers Compensation and all liability policies.

- All insurance policies shall be endorsed to require the insurer to immediately notify The City of West University Place of any material change in the insurance coverage.

- All insurance policies shall be endorsed to the effect that The City of West University Place will receive at least thirty- (30) days notice prior to cancellation or non-renewal of the insurance.

- All insurance policies, which name The City of West University Place as an additional insured, must be endorsed to read as primary coverage regardless of the application of other insurance.

- Required limits may be satisfied by any combination of primary and umbrella liability insurances.

- Contractor may maintain reasonable and customary deductibles, subject to approval by The City of West University Place.

- Insurance must be purchased from insurers that are financially acceptable to the City of West University Place.

All insurance must be written on forms filed with and approved by the Texas Department of Insurance  Certificates of Insurance shall be prepared and executed by the insurance company or its authorized agent and shall contain provisions representing and warranting the following:

- Sets forth all endorsements and insurance coverage’s according to requirements and instructions contained herein.

- Shall specifically set forth the notice-of-cancellation or termination provisions to The City of West University Place.

Upon request, Contractor shall furnish The City of West University Place with certified copies of all insurance policies.

A valid certificate of insurance verifying each of the coverage’s required above shall be submitted upon award.  The certificate of insurance shall be sent to:

City of West University Place

City Secretary’s Office

3800 University Blvd

West University Place, TX 77005

Reduction or Waiver of Insurance Requirements

The City may at any time reduce or waive all or part of the insurance requirements established by this document for any contractor that has entered into an agreement with the City to provide the services for which this insurance applies, if the City determines that the reduction or waiver will not unreasonably expose the City to a risk of liability or loss.  An authorized City representative must authorize any reduction or waiver of these insurance requirements in writing before the reduction or waiver is effective.

ATTACHMENT A-4l

JOB NO. PW26-04

WORKERS' COMPENSATION

INSURANCE COVERAGE

If this bid/proposal package is for a building or construction contract, all of the provisions of this rule as shown below apply.  Since this is a mandatory requirement, cost increases should not be experienced because of the need to comply with the Texas Workers' Compensation Law.  For additional information contact the Texas Department of Insurance, Division of Workers’ Compensation, 333 Guadalupe Austin, Texas 78701, 888-4TXCOMP (888-489-2667).

A.	Definitions:

Certificate of coverage ("Certificate") - A copy of a certificate of insurance, a certificate of authority to self-insure issued by the commission, or a coverage agreement, TWCC-81, TWCC-82, TWCC-83, or TWCC-84 showing statutory workers' compensation insurance coverage for the person's or entity's employees providing services on a project, for the duration of the project.

Duration of the project - Includes the time from the beginning of the work on the project until the contractor's/person's work on the project has been completed and accepted by the governmental entity.

Persons providing services on the project ("subcontractor" in §406.096) - Includes all persons or entities performing all or part of the services the contractor has undertaken to perform on the project, regardless of whether that person contracted directly with the contractor and regardless of whether that person has employees.  This includes, without limitation, independent contractors, subcontractors, leasing companies, motor carriers, owner-operators, employees of any such entity, or employees of any entity which furnishes persons to provide services on the project.  "Services" include, without limitation, providing, hauling or delivering equipment or materials, or providing labor, transportation, or other service related to a project.  "Services" does not include activities unrelated to the project, such as food/beverage vendors, office supply deliveries, and delivery of portable toilets.

B.	The Contractor shall provide coverage, based on proper reporting of classification codes and payroll amounts and filing of any coverage agreements, which meets the statutory requirements of Texas Labor Code, Section 401.011(44) for all employees of the contractor providing services on the project, for the duration of the project.

C.	The Contractor must provide a certificate of coverage to the governmental entity prior to being awarded the contract.

- If the coverage period shown on the Contractor's current certificate of coverage ends during the duration of the project, the Contractor must, prior to the end of the coverage period, file a new certificate of coverage with the governmental entity showing that coverage has been extended.

E.	The Contractor shall obtain from each person providing services on a project, and provide to the governmental entity:

(1)	A certificate of coverage, prior to that person beginning work on the project, so the governmental entity will have on file certificates of coverage showing coverage for all persons providing services on the project; and

(2)	No later than seven (7) days after receipt by the Contractor, a new certificate of coverage showing extension of coverage, if the coverage period shown on the current certificate of coverage ends during the duration of the project.

- The Contractor shall retain all required certificates of coverage for the duration of the project and for one (1) year thereafter.

I.	The Contractor shall contractually require each person with whom it contracts to provide services on a project to:

(1)	Provide coverage, based on reporting of classification codes and payroll amounts and filing of any coverage agreements, which meets the statutory requirements of Texas Labor Code, Section 401.011(44) for all its employees providing services on the project, for the duration of the project.

(2)	Provide to the Contractor, prior to that person beginning work on the project a certificate of coverage showing that coverage is being provided for all employees of the person providing services on the project, for the duration of the project.

(3)	Provide the Contractor, prior to the end of coverage period, a new certificate of coverage showing extension of coverage, if the coverage period shown on the current certificate of coverage ends during the duration of the project.

(4)	Obtain from each other person with whom it contracts, and provide to the Contractor:

(a)	A certificate of coverage, prior to the other person beginning work on the project, and

(b)	a new certificate of coverage showing extension of coverage, prior to the end of the coverage period, if the coverage period shown on the current certificate of coverage ends during the duration of the project;

(5)	Retain all required certificates of coverage on file for the duration of the project and for one (1) year thereafter.

(6)	Notify the government entity in writing by certified mail or personal delivery, within ten (10) days after the person knew or should have known, of any change that materially affects the provision of coverage of any person providing services on the project; and

(7)	Contractually require each person with whom it contracts, to perform as required by paragraphs (1) - (7), with the certificates of coverage to be provided to the person for whom they are providing services.

- By signing this contract or providing or causing to be provided a certificate of coverage, the Contractor is representing to the governmental entity that all employees of the contractor who will provide services on the project will be covered by workers' compensation coverage for the duration of the project, that the coverage will be based on proper reporting of classification codes and payroll amounts, and that all coverage agreements will be filed with the appropriate insurance carrier or, in the case of a self-insured, with the commission's Division of Self-Insurance Regulation.  Providing false or misleading information may subject the contractor to administrative penalties, criminal penalties, civil penalties, or other civil actions.

- The Contractor's failure to comply with any of these provisions is a breach of contract by the contractor which entitles the governmental entity to declare the contract void if the Contractor does not remedy the breach within ten (10) days after receipt of notice of breach from the governmental entity.

ATTACHMENT A-4m

JOB NO. PW26-04

REFERENCE SHEET

(A MINIMUM OF FIVE REFERENCES OF SIMILAR SIZE ARE REQUIRED)

(For: 							, Bidder)

Name of project:

Type of work:

Location (city, county, state):

City 				County 				State

Bidder's compensation:

Dates of service:

Start					End

Reference Contact Information:

Owner’s Representative:

Address:

Telephone:

Fax:

Was Bidder declared to be in default by the owner or the surety? 		Yes   		No

If yes, please explain: